## Draft codes
Unique Qualifier Code | Definition | Considerations
B | Clear to bottom; indicates where no Secchi measurements were possible because the disk did not disappear. | This is not a QA problem; rather it gives the reason for a null value for mean Secchi depth.
Q | Did not meet quality control requirements | Use this code for atypical QC issues; comment required
Q01 | field equipment questionable/failure
Q02 | Detection/contamination in blank | Use when blank result exceeds Lab Reporting Limit for analyte
Q03 | Incubation time not met
Q04 | Improper shipping procedures
Q05 | recovery of spike in sample, blank or calibration standard is out of range | consider comment explaining why, whether value was above or below range, and whether accuracy is thought to be affected.
Q06 | Duplicate RPD out of range; Precision out of range. | consider comment explaining why, whether value was above or below range, and whether precision is thought to be affected.
Q07 | Temperature out of range
Q08 | Holding Time Exceeded
Q09 | Actual coordinates unavailable/coordinate error | Consider using with Q10, drop site if outside of 100 m from design coordinates
Q10 | Field Procedure QC not met | consider comment (i.e. "benthic grab depth less than 7 cm," etc.)
Q11 | Lab result reported with flag by lab | "lab report available upon request" comment required with this code only if result removed from NARS analysis.
Q12 | Number of replicates tested deviated from protocol | If fewer than required, consider removing from NARS analysis; consider comment with number of replicates tested of number required.
Q13 | Minimum Mean % Survival of control not achieved in this batch | consider removing from NARS analysis; consider comment with minimum requirement percentage. Include lab comments if applicable.
Q14 | Record not used in regression calculation of Kd | use in hydroprofile with one of the following comments: Less than three PAR records; Unacceptable regression; UW values suspect; AMB values suspect
Q15 | Horizontal Secchi Measurement
Q16 | Data at this site are incomplete
Q17 | Coellutant | requires a comment indicating the number of the coellutant, if available. If not available, comment states coellutant number unavailable.
Q18 | Benthic grab field information standardized | Use this comment to indicate whenever grab type, grab area or grab depth record was changed to standardize information across field teams. Consider comment explaining change.
Q19 | Lab QC data not available or incomplete | Assign this code where labs did not report QC data such as duplicates, blank or matrix spikes, or the lab reported incomplete QC data or did not report MDLs while reporting results as non-detects.
Q20 | Unable to calculate RPD
Q21 | MDL or estimated MDL does not meet MDL requirement specified by the QAPP
Q22 | QC data not reviewed by NARS. Either not a target analyte or not a target site. QC data may have been reviewed by lab. Data use at discretion of user. | Flag non-target data provided by labs with this code.
Q23 | Result value calculated by NARS IM team
Q24 | Sample identification error | Use to identify unresolvable sample ID errors of any kind. Consider removing from analysis depending on severity of error. Comment explaining error is recommended.
Q25 | Data or sample collected from incorrect location | Use to identify data or samples that were collected outside of the allowable distance from the X-Site. Consider also flagging with "R" code.
Q26 | Sample result value is outside of historical data range | Not necessarily a disqualifier. Rather this QA_CODE identifies values requiring further QC review by analyst. Comment with historical data range is equired.
Q27 | Lab procedure deviated from protocol | Consider comment explaining nature of deviation. For example: incorrect number of organisms in sedtox test replicate. Number in replicate = "x".
Q28 | Revised result | If the data were revised after public release, add comment with the DATE that the revised data were published. Consider describing reason for revision.
Q29 | One or more batch QAQC results did not meet accuracy or precision target. Minor deviations are acceptable for NCCA ana;yses.
J | Value estimated by lab and acceptable for NARS analysis; use of data at users's discretion
J01 | No MDL Reported; MDL set to lowest result value reported by lab
J02 | Reported value is less than MDL but greater than zero. | Obsolete after 2010. Replaced by ND.
J03 | reported value is between MDL and RL and therefore considered an estimate
J04 | Uncensored value reported as zero and flagged by lab as less than MDL | Obsolete after 2010. Replaced by ND.
N | Non-detect; -9999 (numeric zero in data prior to 2015) entered in results field to simplify database manipulation | Obsolete after 2010. Replaced by ND.
ND | Non detect. Cell intentionally left blank. | Used in 2015 and after. Replaces J02, J04, L and N used in 2010. If uncensored values was reported by lab, it will be reported in the comment column of data spreadsheet.
E | Value exceeds upper measurement limit of method/instrument. | Used in data from 2015 and later. If possible, add comment indicating the upper measurement limit of the method/instrument.
L | Value reported as "<MDL"; numeric zero entered in results field to simplify database manipulation | Obsolete after 2010. Replaced by ND.
R | Data did not meet NCCA DQOs. Data removed from NARS analysis; use of data at end-users' discretion | consider comment if not explained by other QA code
_T | This value is still under review (to be determined) | apply to anything where there is a high likelihood that a value is subject to change

## Explanations
These are DRAFT QA Codes that are being implemented for the National Coastal Condition Assessment.
Please verify that you are using the most recent version of the file. If updated codes are released this file will be updated with a new date.
Questions about this file may be directed to Hugh Sullivan, Acting NCCA Lead at 202-564-1763 or sullivan.hugh@epa.gov.